EQUINE MEDICATION DEUTERATED STANDARD

CLENBUTEROL-D9

Name: 4-amino--[(tert-butyl-d9-amino)methyl]-3,5-dichlorobenzyl alcohol

CAS No.: [        ]

Molecular Formula: C12H9D9Cl2N2O

Molecular Mass: 286.25 g/mol

LOT # 0906-090902B									Date: 09-02-2009

Properties: colorless crystals  		 			Melting point: 207-208 C (from ethanol-water)

Solubility: soluble in methanol					Quantity: 1 mg

Estimated Isotopic Purity: 98 % D9 	(<0.01% D0)			Chemical Purity: >96 %

Storage: store below room temperature

Stability: If stored at 0-5 C in an air tight container, protected from light, decomposition of the compound is less than 1% in 24 months.

GC/MS data: column 15 m  0.25 mm  0.25 m HP 5MS; temperature: 70-280C at 20 C/min; flow rate 1 ml/min He; Injection: splitless